POLICY TITLE: PROFICIENCY TESTING

POLICY STATEMENT: The Health Center will complete proficiency testing as per state or manufacturer requirements.

- Blood Glucose = once each day of patient testing

#### Rapid Strep      = once when a new box is opened

- Urine HCG= once when new box is opened

- Urine Dip = once when new box is opened

- Hemacue = once each day of patient testing

PROCEDURE:

- Purpose

  - To ensure the quality of the test

  - To ensure the accuracy of the test

- Steps

  - Test equipment using the specific controls

  - Testing should be done using the policy and procedure for the specific equipment

  - Document the results in the Proficiency Testing book

  - Abnormals or problems should be reported to the Nursing Supervisor as soon as possible. During this time, patient testing should not be done.