POLICY TITLE: CLEANING SCHEDULE

POLICY STATEMENT:  The Health Center will ensure all equipment is cleaned and in working order. Record of the cleaning will be maintained.

PROCEDURE:

- Purpose

  - To control the spread of infection

  - To ensure all equipment is in working order

- Steps

  - The cleaning schedule will be maintained in the cleaning log book. The log book will be kept in the laboratory.

  - Restocking of supplies and forms will be done bi-weekly on Wednesdays and Fridays at each pod by a designated staff member.

  - Ear speculum solution will be changed every Monday.

  - Exam room tables, exam table drawers will be wiped with a disinfectant every month.

  - The Ultrasonic cleaner will be emptied and cleaned at the end of each night. It will be refilled in the morning.

  - The Flex Sig, Colposcopy, and cyro equipment will be cleaned and disinfected after each use. The flex Sig solution will be checked daily and changed as needed.

  - Sharps containers will be checked every day

  - The following equipment will be cleaned every week (and as needed) by the nurse/ lab manager with a designated disinfectant.

              - Microscope

              - Hemosite

              - Glucometer

              - Autoclave

              - Centrafuge

              - Hyfrecator

              - EKG

  - In the event any problems or questions occur while cleaning equipment report immediately to the nurse supervisor. Patient testing should be halted until the problem is resolved.